Table 1A. Patient and Lesion Demographics of Full Cohort (SMC-LUD, n=1,021)

| 항목 (Characteristics) | HCC (환자 n=600) | Hemangioma (환자 n=421) |
| --- | --- | --- |
| 나이, 평균 ± 표준편차 (범위), 세 | 66.65 ± 11.02 (20–90) | 55.50 ± 12.76 (30–90) |
| 남성, n (%) | 491 (81.8%) | 174 (41.3%) |
| 여성, n (%) | 109 (18.2%) | 247 (58.7%) |
| 키, 평균 ± 표준편차, cm | 165.74 ± 16.39 | 163.72 ± 8.45 |
| 몸무게, 평균 ± 표준편차 (범위), kg | 67.44 ± 11.24 (42–104) | 63.85 ± 12.95 (34–118) |
| 병변 크기 (최대 직경), 중앙값 / Q1 / Q3, cm | 2.90 / 2.10 / 4.50 | — |
| UICC 병기 (2000), n (%) |  |  |
| pT1 | 58 (9.7%) | — |
| pT2 | 120 (20.0%) | — |
| pT3 | 353 (58.8%) | — |
| pT4 | 69 (11.5%) | — |
| AJCC 병기 (2010), n (%) |  |  |
| pT1 | 164 (27.3%) | — |
| pT2 | 393 (65.5%) | — |
| pT3 | 22 (3.7%) | — |
| pT4 | 21 (3.5%) | — |

Data source: Tak et al. Sci Data (2026)[13]. Values represent full SMC-LUD cohort (n=1,021 patients). Note that tumor diameter and pathological stages were only documented for HCC cases in the original public repository.

Table 1B. Dataset Allocation for Clean Subset (744 Patients, 2,656 Images)

| Diagnosis | No. of Patients | No. of Images | Train Set | Validation Set | Test Set |
| --- | --- | --- | --- | --- | --- |
| Hemangioma | 323 | 1,267 | 886 | 253 | 128 |
| HCC | 421 | 1,389 | 972 | 277 | 140 |
| Total (Clean) | 744 | 2,656 | 1,858 | 530 | 268 |

Values follow the patient-level split published by Tak et al. (2026). Images with calipers or measuring overlays were excluded to prevent shortcut feature learning.

Table 2. Ablation: Backbone × Training Mode (Validation Set, Confidence Score)

| # | Backbone | Training Mode | Cutoff | AUROC | Sensitivity (%) | Specificity (%) | F1 Score |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ResNet50V2 | CE Only | 0.0002 | 1.000 | 100.00 | 100.00 | 1.0000 |
| 2 | EfficientNetV2B0 | CE Only | 0.0016 | 0.9999 | 100.00 | 99.60 | 0.9982 |
| 3 | ResNet50V2 | CE + SupCon | 0.0002 | 1.000 | 99.64 | 100.00 | 0.9982 |
| 4 | EfficientNetV2B0* | CE + SupCon | 0.0011 | 1.000 | 100.00 | 100.00 | 1.0000 |
| 5 | ResNet50V2 | NNCLR (SSL) | 0.0003 | 0.9994 | 99.64 | 99.21 | 0.9946 |
| 6 | EfficientNetV2B0 | NNCLR (SSL) | 0.0038 | 0.9986 | 98.19 | 98.42 | 0.9837 |

*Primary model (#4). Validation comprised 530 images (277 HCC and 253 hemangioma). Cutoffs were determined using Youden's J statistic. EfficientNetV2B0 + CE+SupCon yielded AUROC 1.000, sensitivity 100.00%, specificity 100.00%, and F1 1.0000; ResNet50V2 + CE+SupCon yielded AUROC 1.000, sensitivity 99.64%, specificity 100.00%, and F1 0.9982. EfficientNetV2B0 + NNCLR yielded AUROC 0.9986, sensitivity 98.19%, specificity 98.42%, and F1 0.9837. These are descriptive comparisons, not evidence of equivalence or non-inferiority. CE, cross-entropy; SupCon, supervised contrastive learning; NNCLR, nearest-neighbor contrastive learning (SSL pre-training followed by CE+SupCon fine-tuning).

Table 3. Primary Model Classification Performance (EfficientNetV2B0 + CE+SupCon)

| Metric | Validation Set (n=530) | Test Set (n=268) |
| --- | --- | --- |
| AUROC | 1.000 | 1.000 |
| Accuracy (%) (95% CI) | 100.00 (99.31–100.00) | 99.63 (97.94–99.99) |
| Sensitivity (%) (95% CI) | 100.00 (98.68–100.00) | 100.00 (97.40–100.00) |
| Specificity (%) (95% CI) | 100.00 (98.55–100.00) | 99.22 (95.72–99.98) |
| Positive Predictive Value (%) | 100.00 | 99.29 |
| Negative Predictive Value (%) | 100.00 | 100.00 |
| F1 Score | 1.0000 | 0.9964 |
| Confusion Matrix (TP / FP / FN / TN) | 277 / 0 / 0 / 253 | 140 / 1 / 0 / 127 |

Operating threshold (cutoff = 0.00109) was fixed on the validation set using Youden's J statistic and applied unchanged to the independent test set (n=268; HCC 140, hemangioma 128). Test set: AUROC 1.000; accuracy 99.63% (95% CI 97.94–99.99); sensitivity 100.00% (95% CI 97.40–100.00); specificity 99.22% (95% CI 95.72–99.98); PPV 99.29%; NPV 100.00%; F1 0.9964. 95% confidence intervals (CI) are exact Clopper-Pearson binomial intervals estimated at the image level. In the test set, misclassification occurred in exactly 1 hemangioma image (FP=1, FN=0).

Table 4. Comparison of Dual-Output Metrics in Primary Model (EfficientNetV2B0 + CE+SupCon)

| Output | Score Type | Prototype Type | Cutoff (Val) | AUROC (Val) | AUROC (Test) | Test Sens (%) | Test Spec (%) | Test Errors (FP / FN) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ROC-A | Confidence Score | — | 0.0011 | 1.000 | 1.000 | 100.00 | 99.22 | 1 / 0 |
| ROC-B | HCC Cosine Score | Mean (n=1) | -0.0048 | 1.000 | 1.000 | 100.00 | 99.22 | 1 / 0 |
| ROC-C | Δscore | Mean (n=1) | -0.9585 | 1.000 | 1.000 | 100.00 | 99.22 | 1 / 0 |
| ROC-B | HCC Cosine Score | k-means (k=4) | 0.0288 | 1.000 | 1.000 | 100.00 | 99.22 | 1 / 0 |
| ROC-C | Δscore | k-means (k=4) | -0.9265 | 1.000 | 1.000 | 100.00 | 99.22 | 1 / 0 |

ROC curves for ROC-A (Confidence Score), ROC-B (HCC Cosine Score), and ROC-C (Δscore). All prototypes were derived from the training set only. Mean prototypes define the primary analysis; k-means prototypes (k=4) are an add-on analysis. Validation-selected cutoffs were fixed for internal test evaluation: confidence 0.00109 (rounded to 0.0011 in the table), HCC cosine mean −0.0048, Δscore mean −0.9585, HCC cosine k-means 0.0288, and Δscore k-means −0.9265. Each output yielded test AUROC 1.000, sensitivity 100.00%, and specificity 99.22%. All five output definitions misclassified the same hemangioma image (index 576; FP=1, FN=0); an additional classification benefit over confidence alone was not observed. No equivalence or non-inferiority conclusion was drawn.

Table 4B. Test Set AUROC Comparison across All Evaluated Models

| Backbone | Training Mode | Confidence (A) | Cosine-B (Mean) | Cosine-B (k-means) | Δscore-C (Mean) | Δscore-C (k-means) |
| --- | --- | --- | --- | --- | --- | --- |
| EfficientNetV2B0 | CE Only | 0.9999 | 0.9999 | 1.0000 | 0.9999 | 0.9999 |
| EfficientNetV2B0* | CE + SupCon | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| EfficientNetV2B0 | NNCLR (SSL) | 1.0000 | 0.8930 | 0.9763 | 0.9996 | 0.9999 |
| ResNet50V2 | CE Only | 1.0000 | 1.0000 | 1.0000 | 1.0000 | 1.0000 |
| ResNet50V2 | CE + SupCon | 0.9999 | 0.9999 | 0.9999 | 0.9999 | 0.9999 |
| ResNet50V2 | NNCLR (SSL) | 0.9994 | 0.0684 | 0.1235 | 0.9891 | 0.9984 |

*Primary model. AUROC values refer to the internal held-out test set (n=268), not an external cohort. ResNet50V2 + NNCLR yielded an HCC cosine mean-prototype AUROC of 0.0684. This low value does not by itself establish a mechanism involving self-supervised learning or label-space inversion.